## Notes to Consultant
Bookmark from Table of Contents to section, table,etc

## Gravity Sewer
Chapter / Section | Project Type | Primary Reviewer | Comments
Executive Summary | Gravity Sewer Rehab / Replace | Engineering Director
Project Background and Purpose | Gravity Sewer Rehab / Replace
Existing Facility / Asset Conditions | Gravity Sewer Rehab / Replace | Asset Management
Hydraulic Evaluation | Gravity Sewer Rehab / Replace | Hydraulic Analysis Manager
Environmental / Permitting | Gravity Sewer Rehab / Replace | Lauren Grimmer
Rehab/Replacement Methods & Materials | Gravity Sewer Rehab / Replace
Alternative Development/Comparison/Selection | Gravity Sewer Rehab / Replace | Interceptors, Ron Corby/JD
Easements / Real Estate Considerations | Gravity Sewer Rehab / Replace | Real Estate Managers
Potential impacts to private utilities regarding relocations, costs, easement needs, schedule delays. | Gravity Sewer Rehab / Replace | Real Estate Managers | Consider costs to HRSD for private utility relocations and/or construction assistance.
Alternatives Evaluation / Life Cycle Cost Analysis / TBL / HRSD staffing O&M requirements / Rankings | Gravity Sewer Rehab / Replace | Ryan Radspinner
Project Total Budget Development (all phases) | Gravity Sewer Rehab / Replace | PM/Chief/Finance
Conclusion and Recommendations | Gravity Sewer Rehab / Replace
Project Proposed Completion Schedule, Phasing, Project Delivery | Gravity Sewer Rehab / Replace |  | Include OPCC and proposed HRSD review periods, meetings, etc. where HRSD staff would need to be involved
Risk Identification and Possible Mitigation Considerations | Gravity Sewer Rehab / Replace
Stakeholder / Public Coordination and Communication Approach | Gravity Sewer Rehab / Replace | Lisa Bolen
CWRLF Requirements (if applicable) | Gravity Sewer Rehab / Replace | Melissa Josey-White
Operation and Maintenance Considerations | Gravity Sewer Rehab / Replace | Interceptors
Preconstruction Assessment Damage Mitigation | Gravity Sewer Rehab / Replace | Real Estate Managers | Evaluate proposed alternatives for potential to cause damage to nearby structures. While possibly too early to do a full assessment, they should be able to determine the relative risk of each alternative to damage nearby structures, etc. Consider combining with Risk ID and Mitigation section
Appendices, including preliminary drawings, as appropriate | Gravity Sewer Rehab / Replace

## Force Main
Chapter / Section | Project Type | Primary Reviewer | Comments
Executive Summary | Force Main | Engineering Director
Project Background and Purpose | Force Main
Existing Facility / Asset Conditions | Force Main | Asset Management
Hydraulic Evaluation | Force Main | Hydraulic Analysis Manager
Environmental / Permitting | Force Main | Lauren Grimmer
Pipeline Methods & Materials | Force Main | Interceptors
Alternative Development/Comparison/Selection | Force Main | Interceptors | Include evaluation of FM size vs. velocity for the anticipated range of flows
Easements / Real Estate Considerations | Force Main | Real Estate Managers
Potential impacts to private utilities regarding relocations, costs, easement needs, schedule delays. | Force Main | Real Estate Managers | Consider costs to HRSD for private utility relocations and/or construction assistance.
Alternatives Evaluation / Life Cycle Cost Analysis / TBL / HRSD staffing O&M requirements / Rankings | Force Main | Ryan Radspinner
Project Total Budget Development (all phases) | Force Main | PM/Chief/Finance
Conclusion and Recommendations | Force Main
Project Proposed Completion Schedule, Phasing, Project Delivery | Force Main |  | Include OPCC and proposed HRSD review periods, meetings, etc. where HRSD staff would need to be involved
Risk Identification and Possible Mitigation Considerations | Force Main
Stakeholder / Public Coordination and Communication Approach | Force Main | Lisa Bolen
CWRLF Requirements (if applicable) | Force Main | Melissa Josey-White
Operation and Maintenance Considerations | Force Main | Interceptors | Location of air vents, valves and other items requiring periodic or eventual maintenance, including long-term replacement of anodes, bolts, etc.
Electrical, Instrumentation and Control Considerations (is applicable) | Force Main | Electrical and Instrumentation | Generally only if there are automated valves, rectifier stations, pressure/FM/Salinity/PH meters, etc.
Prconstruction Assessment Damage Mitigation | Force Main | Real Estate Managers | Evaluate proposed alternatives for potential to cause damage to nearby structures. While possibly too early to do a full assessment, they should be able to determine the relative risk of each alternative to damage nearby structures, etc. Consider combining with Risk ID and Mitigation section
Appendices, including preliminary drawings, as appropriate | Force Main
Coordination | Force Main |  | HRSD and External projects, maintenance activities, and initiatives

## PS-PRS-OLSF
Chapter / Section | Project Type | Primary Reviewer | Comments
Executive Summary | PS / PRS / OLSF | Engineering Director
Project Background and Purpose | PS / PRS / OLSF
Existing Facility / Asset Conditions | PS / PRS / OLSF | AM
Hydraulic Evaluation | PS / PRS / OLSF | HAMs
Alternative Development/Comparison/Selection | PS / PRS / OLSF |  | Include preliminary pump selections showing number of pumps, system curve and where proposed pumps will operate relative to POR across the min/max dry, and 2yr/5yr peak flow conditions
Easements / Real Estate Considerations | PS / PRS / OLSF | Real Estate Managers | Note that for any properties purchased for this project, a phase 1 ESA to be performed.
Potential impacts to private utilities regarding relocations, costs, easement needs, schedule delays. | PS / PRS / OLSF | Real Estate Managers | Account for needed easements and access / setbacks for private utilities currenty located on parcels being considered for HRSD purchase and for proposed private utilies to service constructed HRSD facilities on parcel.
Standby Power, Electrical, Instrumentation and Control Considerations | PS / PRS / OLSF | E&I Division, Automotive
Odor Control Analysis and Considerations | PS / PRS / OLSF | Mark Feltner
Alternatives Evaluation / Life Cycle Cost Analysis / TBL / HRSD staffing O&M requirements / Rankings | PS / PRS / OLSF | BCE Team | Should ISI Envision workshop be deferred to early Design Phase?
Environmental / Permitting | PS / PRS / OLSF | Lauren Grimmer | Environmental Site Assessment, Wetland Delineation, Protected Species, Invasive Species, Historical & Cultural Resources
Project Total Budget Development (all phases) | PS / PRS / OLSF | PM/Chief/Finance | Include OPCC
Conclusion and Recommendations | PS / PRS / OLSF |  | What would be included in this section that isn't discussed in the ES or some other seciton of the PER?
Project Proposed Completion Schedule, Phasing, Project Delivery | PS / PRS / OLSF |  | Include OPCC and proposed HRSD review periods, meetings, etc. where HRSD staff would need to be involved
Architectural and Site Considerations and Options | PS / PRS / OLSF | Architectural Review Committee | Provide architectural options as per standards
Risk Identification and Possible Mitigation Considerations | PS / PRS / OLSF
Stakeholder / Public Coordination and Communication Approach | PS / PRS / OLSF | Lisa Bolen
CWRLF Requirements (if applicable) | PS / PRS / OLSF | Melissa Josey-White
Operation and Maintenance Considerations | PS / PRS / OLSF
Preconstruction Assessment Damage Mitigation | PS / PRS / OLSF | Real Estate Managers | Evaluate proposed alternatives for potential to cause damage to nearby structures. While possibly too early to do a full assessment, they should be able to determine the relative risk of each alternative to damage nearby structures, etc. Consider combining with Risk ID and Mitigation section
Hydraulic Institute Compliance | PS / PRS / OLSF | Interceptors/PM | Tabular review of how the the proposed design will comply with HI standards (this may need to be delayed until further in design)
-- Consider adding to above... "& Physical Modeling" |  |  | Determination if and when physical modeling will be performed with consideration of the type of project (new/replacement vs. rehabilitation)
Appendices, including preliminary drawings, as appropriate | PS / PRS / OLSF
Sea Level Rise and Resilience | PS / PRS / OLSF | Planning & Analysis | What elevation will protective measures be taken and what hardening approaches will generally be considered/employed? If the current elevation differs from HRSD's long term planning elevation, what is the feasability/cost to provide that level of protection today or to retrofit the asset(s) in the future.
Site Design | PS / PRS / OLSF |  | Access, Parking, Driveway, Stormwater Management, E&S
Coordination | PS / PRS / OLSF |  | HRSD and External projects, maintenance activities, and initiatives

## Buildings
Chapter / Section | Project Type | Primary Reviewer | Comments
Executive Summary | Buildings | Engineering Director
Project Background and Purpose | Buildings
Existing Facility / Asset Conditions | Buildings | Asset Management
Alternative Development/Comparison/Selection | Buildings
Easements / Real Estate Considerations | Buildings | Real Estate Managers | Note that for any properties purchased for this project, a phase 1 ESA to be performed.
Potential impacts to private utilities regarding relocations, costs, easement needs, schedule delays. | Buildings | Real Estate Managers | Account for needed easements and access / setbacks for private utilities currenty located on parcels being considered for HRSD purchase and for proposed private utilies to service constructed HRSD facilities on parcel.
Standby Power, Electrical, Instrumentation and Control Considerations | Buildings | E&I Division, Automotive
Materials of Construction | Buildings | Ray Holmes | Roof and exterior walls
HVAC Considerations | Buildings | Facility Maint/Ops | Note that FM only maintains main office facilities - plants are responsible for their own maintenance
Alternatives Evaluation / Life Cycle Cost Analysis / TBL / HRSD staffing O&M requirements / Rankings | Buildings | Ryan Radspinner
Environmental / Permitting | Buildings | Lauren Grimmer
Project Total Budget Development (all phases) | Buildings | PM/Chief/Finance | Include OPCC
Conclusion and Recommendations | Buildings
Project Proposed Completion Schedule, Phasing, Project Delivery | Buildings |  | Include OPCC and proposed HRSD review periods, meetings, etc. where HRSD staff would need to be involved
Architectural and Site Considerations and Options | Buildings | Architectural Review Committee | Provide architectural options as per standards
Risk Identification and Possible Mitigation Considerations | Buildings
Stakeholder / Public Coordination and Communication Approach | Buildings | Lisa Bolen
CWRLF Requirements (if applicable) | Buildings | Melissa Josey-White
Operation and Maintenance Considerations | Buildings | Facility Maint/Ops | assuming this may also include admin building on WWTP sites
Prconstruction Assessment Damage Mitigation | Buildings | Real Estate Managers | Evaluate proposed alternatives for potential to cause damage to nearby structures. While possibly too early to do a full assessment, they should be able to determine the relative risk of each alternative to damage nearby structures, etc.
Appendices, including preliminary drawings, as appropriate | Buildings
Sea Level Rise and Relience | Buildings | Planning & Analysis | What elevation will protective measures be taken and what hardening approaches will generally be considered/employed? If the current elevation differs from HRSD's long term planning elevation, what is the feasability/cost to provide that level of protection today or to retrofit the asset(s) in the future.

## Treatment - Process
Chapter / Section | Project Type | Primary Reviewer | Comments
Executive Summary | Treatment / Process | Engineering Director
Project Background and Purpose | Treatment / Process
Existing Facility / Asset Conditions | Treatment / Process | Asset Management
Hydraulic / Process Evaluation | Treatment / Process | Hydraulic Analysis Manager
Alternative Development/Comparison/Selection | Treatment / Process |  | Include preliminary pump selections showing number of pumps, system curve and where proposed pumps will operate relative to POR across the min/max dry, and 2yr/5yr peak flow conditions
Real Estate Considerations | Treatment / Process | Real Estate Managers | Note that for any properties purchased for this project, a phase 1 ESA to be performed.
Standby Power, Electrical, Instrumentation and Control Considerations | Treatment / Process | E&I Division, Automotive
Odor Control Analysis and Considerations | Treatment / Process | Mark Feltner
Alternatives Evaluation / Life Cycle Cost Analysis / TBL / HRSD staffing O&M requirements / Rankings | Treatment / Process | Ryan Radspinner
Environmental / Permitting | Treatment / Process | Lauren Grimmer
Project Total Budget Development (all phases) | Treatment / Process | PM/Chief/Finance | Include OPCC
Conclusion and Recommendations | Treatment / Process
Project Proposed Completion Schedule, Phasing, MOPO, Project Delivery | Treatment / Process |  | Include OPCC and proposed HRSD review periods, meetings, etc. where HRSD staff would need to be involved
Architectural and Site Considerations and Options | Treatment / Process | Architectural Review Committee | Provide architectural options as per standards
Risk Identification and Possible Mitigation Considerations | Treatment / Process
Stakeholder / Public Coordination and Communication Approach | Treatment / Process | Lisa Bolen
CWRLF Requirements (if applicable) | Treatment / Process | Melissa Josey-White
Operation and Maintenance Considerations | Treatment / Process | Operations
Prconstruction Assessment Damage Mitigation | Treatment / Process | Real Estate Managers | Evaluate proposed alternatives for potential to cause damage to nearby structures. While possibly too early to do a full assessment, they should be able to determine the relative risk of each alternative to damage nearby structures, etc. Consider combining with Risk ID and Mitigation section
Hydraulic Institute Compliance | Treatment / Process | Operations | Applicable to any pump application. Tabular review of how the the proposed design will comply with HI standards (this may need to be delayed until further in design)
Appendices, including preliminary drawings, as appropriate | Treatment / Process
Sea Level Rise and Relience | Treatment / Process | Planning & Analysis | What elevation will protective measures be taken and what hardening approaches will generally be considered/employed? If the current elevation differs from HRSD's long term planning elevation, what is the feasability/cost to provide that level of protection today or to retrofit the asset(s) in the future.