## Sheet1
Attachment B - Example Aesthetics Consideration Log
P.O. BOX 5911, VIRGINIA BEACH, VIRGINIA 23471-0911  (757) 460-7000  FAX (757) 460-2372
Submitted additions to HRSD PM and HRSD Public Information Specialist
Sample Beautification Selections Log : | Project: Powhatan PS (SS)
Description | Company | Website | Contact | Cost 2018 | Reasoning
Front Door | Chempruf | http://www.chem-pruf.com/ | Amy Crotty, acrotty@senneca.com 800-444-6924 ext 5385 | 2793.34 | Paintable if tagged with spray, and fire resistant
Gutters | Atlantic Roofing and Siding | http://www.atlanticroofingllc.com/ | Michelle Davis, michelle@atlanticroofingllc, 340-0045 | 1040 | Had the color we were looking for to match other products
Fascia Wrap | Atlantic Roofing and Siding | http://www.atlanticroofingllc.com/ | Michelle Davis, michelle@atlanticroofingllc, 340-0046 | 575 | Had the color we were looking for to match other products
Landscape | Ritter Grounds Maintenance Inc. | http://rittergrounds.com/ | Tom Ritter, tom@rittergrounds.com, 650-5901 | 3487.36 | Was only company to give me a quote
Address Plaque | Wayfair | https://www.wayfair.com/outdoor/pdp/old-century-forge-legacy-2-line-wall-address-plaque-ocfo1004.html |  | 49.99
Considerations | Recommendation |  |  | Notes
Conduit | Paint all conduit to match the color of the wall it is set on so it blends better. |  |  | *Note this may be multiple colors-brick wall and soffit/fascia background color
WW Fan Equipment | Have the starter box for the fan powder coated to match gutters if the box is in the public's view and can't be hidden by plants |  |  | *Ensure this does not void warranty
Plants / landscaping | Will be specific to each facility |  |  | *Desired for native to this area of Virginia, hearty, evergreen and low/minimal maintenance
Address Plaques | Standard is Black background and white lettering - see standard |  |  | *May need to consider color of plaque to match color scheme of station
Fencing | No full panel or privacy; preferably no fencing if possible; use decorative or vegetation
Shutters | Will be specific to each facility |  |  | *may not always be used
Safety Signage | See standard
mailbox | must be small, locate to the side or back of building
Odor control system | try to obscure from public view |  |  | *use chimney stack, building alcove, decorative fencing/vegetation to block
Placement of equipment (new and when replacing existing equipment) | try to put as much as possible inside of the building and design the façade of the building around it |  |  | *Be thoughtful in the design this structure should be functional and esthetically pleasing
Lighting | add decorate and functional lighting that fits with the design or upgrade
Gutters | install 'leaf guard' type of system to ensure minimal/ zero maintenance
Roof Safety hook attachments | for future maintenance work on the building / safety requirement |  |  | *consult Ray Holmes
outlet boxes/other | blend these into the building/ if
Siding | hardiplank 8+-inch reveal; architectural siding or shingles